# CloudOps

Universal IoT Operations Platform

Core Product Requirements Document

v1.1 — May 2026

(Updated: Digital Twin FDD + RL Optimization + Agentic AI)

# 01  Executive Summary

CloudOps is a universal IoT operations platform for real-time monitoring, predictive maintenance, and intelligent automation across any industrial or operational domain.

## Core Capability

Unified visibility and control across 50–500 distributed sites, hundreds of connected devices per site, with real-time data streaming, digital twin-based fault detection, reinforcement learning optimization, and an Agentic AI framework for autonomous operations.

## Differentiators (v1.1)

Digital Twin Fault Detection & Diagnostics (FDD) — physics-based models detect anomalies before failure

Reinforcement Learning Optimization — continuously improves equipment & plant operations

Agentic AI Framework — multi-agent system (Planner, Executor, Validator) automates complex workflows

Domain-agnostic core with vertical extensions (HVAC, Factory)

Protocol-agnostic (BACnet, Modbus, OPC-UA, MQTT, REST)

On-premise first (data stays on customer infrastructure)

## Deployable Domains (Vertical Extensions)

HVAC (heating, ventilation, air conditioning systems)

Factory Floors (production lines, assembly, quality control)

Water Treatment (pumps, filtration, chemical dosing)

Power Distribution (substations, transformers, grid monitoring)

Manufacturing (CNC, robotics, material handling)

# 02  Problem Statement

Operations teams managing distributed industrial facilities face critical challenges:

Fragmented Systems: Multiple vendor platforms (BMS, SCADA, CMMS, ERP) do not communicate. No single pane of glass.

Reactive Maintenance: Equipment failures detected after breakdown. Threshold-based alerts catch symptoms, not root causes.

Suboptimal Operations: Static control rules cannot adapt to changing conditions. Energy and cost waste compound over time.

Manual Workflows: Even with alerts, humans must investigate, decide, and execute every response.

Data Silos: Device data locked in proprietary systems. Cannot correlate across domains.

Compliance Risk: Audit trails, performance metrics, incident logs scattered across systems.

## Why CloudOps v1.1 Solves This

Digital Twin FDD detects faults at root cause, not just symptoms — catches developing failures days/weeks earlier.

Reinforcement Learning continuously optimizes setpoints, schedules, and control parameters — not static rules.

Agentic AI orchestrates multi-step responses autonomously: detect → diagnose → plan → execute → validate.

## Typical Customer Profile

Large enterprises (50–500 sites per deployment) managing mission-critical operations. Each site runs 100–1,000+ connected devices. Operations teams need unified visibility, fast incident response, and increasingly autonomous data-driven decisions.

# 03  Goals & Success Metrics

## Business Goals

Single system of record for operations across portfolio (eliminate data silos)

Reduce Mean Time to Detect (MTTD) from hours to minutes via digital twin FDD

Reduce Mean Time to Repair (MTTR) by 30%+ via Agentic AI auto-diagnosis and contextual data

Enable 15–25% operational cost reduction via RL-driven optimization

Support 50–500 sites with sub-second telemetry response

AI-powered insights and autonomous workflows reduce manual operations work by 70%

## MVP Success Metrics (Month 6)

At least 95% uptime for telemetry data pipeline per site

Dashboard loads multi-site overview in less than 2 seconds

Alert delivery (rule-based + digital twin) within 30 seconds of anomaly

Digital Twin FDD: detect 80%+ of equipment faults at least 24 hours before failure

RL optimization: 10%+ improvement on tracked KPI (energy, throughput, etc.) within 30 days

Agentic AI: 60%+ of routine workflows completed autonomously (no human intervention)

Real-time data streaming to UI (less than 5 seconds latency)

Work order creation-to-dispatch under 10 minutes

# 04  User Personas

## Portfolio Manager (Primary - all domains)

Oversees 50–500 sites, needs portfolio-level visibility and exception-based alerts. Reviews Agentic AI decisions and approves high-risk actions. Cares most about uptime, SLA compliance, cost reduction, and team productivity.

## Site Operator (Primary - all domains)

On-site daily; operates tablet or kiosk to monitor device status and act on alerts. Validates digital twin diagnoses, accepts/overrides Agentic AI recommendations. Creates and closes work orders; escalates to senior technicians.

## Operations Engineer (Secondary - all domains)

Analyzes operational data, tunes digital twin models, configures RL reward functions, audits Agentic AI decisions. Needs detailed historical data, model performance metrics, and override capabilities.

## Maintenance Technician (Secondary - all domains)

Receives dispatched work orders (often auto-generated by Agentic AI), executes repairs, logs outcomes. Primary channel: tablet in field. Receives digital twin diagnoses, recommended fixes, parts lists.

## AI Operations Specialist (NEW — v1.1)

Configures and tunes Agentic AI agents, RL reward functions, digital twin models. Reviews agent decision logs, validates outcomes, retrains models. Bridges domain expertise and AI capabilities.

## Domain-Specific Specialists (Tertiary)

HVAC: Energy Manager (monitoring consumption, RL-driven optimization)

Factory: Quality Manager (production metrics, defect tracking, twin-based quality prediction)

Factory: Production Scheduler (RL-optimized line scheduling, bottleneck analysis)

# 05  System Architecture Overview

CloudOps is deployed entirely on-premise or within a customer's private cloud. No data leaves the customer's network perimeter.

## Architecture Layers (v1.1)

### 1. Protocol Adapters (Edge Layer)

Pluggable adapter services for each protocol: BACnet/IP, Modbus TCP/RTU, OPC-UA, MQTT, REST. Each adapter service runs in Docker container, deployable per-site or per-subnet. Polling intervals configurable (15s–5min). Local telemetry buffer (24h) on network interruption.

### 2. Data Ingestion & Pipeline

Message queue (Redis/BullMQ) decouples adapters from storage. Ingestion service normalizes protocol-specific data into unified device point schema. TimescaleDB hypertables for efficient time-series storage. Data also fed in real-time to Digital Twin Layer.

### 3. Digital Twin Layer (NEW — v1.1)

Existing customer-built digital twin modules integrated via twin-broker service. Real-time twin synchronization (telemetry → twin state). Twin runs physics-based simulation in parallel with real equipment. Deviation between twin prediction and actual telemetry triggers FDD alerts. Twin state exposed to RL agents and Agentic AI for decision-making.

### 4. AI/ML Layer (NEW — v1.1)

Three integrated subsystems:

Digital Twin FDD Engine: continuously compares twin predictions vs actual; classifies fault types; estimates time-to-failure

Reinforcement Learning Optimizer: existing customer-built RL agents control setpoints, schedules, and control parameters; reward functions configurable per domain

Agentic AI Orchestrator: multi-agent system (Planner, Executor, Validator) coordinates responses to alerts, optimization decisions, and operator requests

### 5. Application Backend

REST API (Node.js/Fastify) handles CRUD, user mgmt, config, work orders, reporting. WebSocket layer for real-time telemetry push. Rules Engine evaluates conditions and fires alerts. Scheduler Service manages task automation. Agentic AI integration layer routes agent actions to appropriate backend services.

### 6. Integration Layer

Domain Extension Bridges: HVAC-specific (BMS), Factory-specific (MES), etc. External system connectors (CMMS, ERP, BI tools). Notification Gateway (email, SMS, in-app).

### 7. Frontend Application

React 18 SPA (desktop) + tablet/kiosk UI (touch-optimized). Real-time data via WebSocket. New: Digital Twin visualization (3D/2D twin state), RL dashboard (reward curves, action history), Agent Activity Feed (live agent decisions and outcomes).

### 8. Auth & Identity

Keycloak (self-hosted): SSO/SAML/OIDC, RBAC groups, MFA support, AD/LDAP integration. JWT-based API auth. Agent action authorization model (which agents can take what actions, with what approval thresholds).

# 06  Technology Stack

| Layer | Technology | Rationale |
| --- | --- | --- |
| Frontend | React 18, TypeScript, Vite | Fast, typed, modular |
| Backend API | Node.js, Fastify, TypeScript | Lightweight, fast, JSON |
| Protocols | node-bacstack, modbus-serial, mqtt.js, opc-ua | Multi-protocol support |
| Database | PostgreSQL + TimescaleDB | Time-series, relational, hypertables |
| Cache/Queue | Redis + BullMQ | Job queues, pub/sub, caching |
| Auth | Keycloak (self-hosted) | SSO/SAML, on-prem, RBAC |
| Digital Twin | Customer-built twin modules (existing) | Physics-based equipment simulation |
| Reinforcement Learning | Customer-built RL agents (existing) | Continuous optimization |
| Agentic AI Framework | Multi-agent system on Claude/GPT-4 | Planner + Executor + Validator pattern |
| ML Inference | Python (FastAPI), PyTorch/TF | Twin FDD, RL inference, model serving |
| Deployment | Docker + Kubernetes | Container orchestration, scaling |
| Monitoring | Prometheus + Grafana | Metrics, dashboards, on-prem |
| LLM (Agent backbone) | Anthropic Claude API (Sonnet/Opus) | Long context, tool use, reasoning |

# 07  Core Functional Modules (Domain-Agnostic)

CloudOps Core consists of 8 domain-agnostic modules. Each module is extended by vertical-specific implementations (HVAC Extension, Factory Extension).

## Module 1: Real-Time Monitoring & Control

| Feature | Description |
| --- | --- |
| Portfolio Dashboard | Multi-site health overview with roll-up KPIs. Status heatmap, alert count, equipment online/offline, twin sync status. |
| Site-Level Device Dashboard | List all devices at a site with live status, latest readings, active alerts, twin deviation indicators. |
| Live Telemetry Streaming | WebSocket-based real-time data push (15s–60s intervals). Display live values, quality, timestamp. |
| Device Detail View | Drill-down: live readings, 24h/7d/30d trends, twin overlay (predicted vs actual), active alerts, linked work orders. |
| Device Registry & Asset Management | Catalog all connected devices with metadata: model, serial, protocol, network address, parameters, twin model link. |
| Parameter Control & Write-Back | Remote parameter changes (setpoint, mode, on/off). Required for RL agent actions. Audit trail for all writes. |
| Historical Trending | Multi-timeframe charts (1h, 1d, 7d, 30d, custom). Min/max/avg statistics. Twin prediction overlay available. |

## Module 2: Alerting & Predictive Maintenance (UPDATED)

Module 2 combines traditional rule-based alerting with Digital Twin Fault Detection & Diagnostics (FDD) for early fault detection at root cause level.

| Feature | Description |
| --- | --- |
| Rule-Based Alerting | Threshold rules (>, <, between). Hold duration. Offline detection. Statistical anomaly rules. Fast detection of obvious failures. |
| Digital Twin FDD Engine (NEW) | Continuous comparison of twin-predicted state vs actual telemetry. Deviation beyond tolerance triggers fault diagnosis. |
| Twin-Based Fault Classification (NEW) | When deviation detected, twin model identifies fault type: bearing wear, valve stuck, fouling, calibration drift, etc. Maps to fault code library. |
| Time-to-Failure Prediction (NEW) | Twin extrapolates degradation trend; estimates remaining useful life (RUL) and recommended maintenance window. |
| Root Cause Localization (NEW) | Twin pinpoints which component is degrading (e.g., not just "AHU faulted" but "supply fan bearing showing 47% degradation"). |
| Multi-Symptom Correlation (NEW) | Twin correlates multiple parameter deviations to identify cascading failures vs independent faults. Reduces alert noise. |
| Alert Inbox & Management | Unified queue of rule-based + twin FDD alerts. Filter by severity, fault type, equipment. Twin alerts include diagnosis details. |
| Alert Escalation | Unacknowledged alerts escalate to higher tier after N minutes. Configurable per rule. Critical twin diagnoses escalate immediately. |
| Fault Code Library | Mapped library of fault codes to human-readable descriptions, twin-identified root causes, and recommended actions. |
| Alert History & Audit | Complete log of all alerts (rule + twin), acknowledgements, resolutions. Twin diagnosis history for model improvement. |
| Notifications | Email, SMS, in-app push. Twin-based alerts include severity, RUL estimate, recommended action. Configurable per user/role. |
| Twin Model Health Monitoring | Track twin prediction accuracy over time. Alert if twin drifts (real equipment behavior changes; twin needs retraining). |

## Module 3: Optimization & Reinforcement Learning (NEW)

CloudOps integrates customer-built RL agents that continuously optimize equipment and plant operations. Agents learn from real operations and improve over time.

| Feature | Description |
| --- | --- |
| RL Agent Registry | Catalog of deployed RL agents: which equipment/plant, what KPI being optimized, agent version, training status. |
| Setpoint Optimization | RL agents adjust setpoints (temperature, pressure, flow, speed) to optimize for objectives: energy, throughput, quality, comfort. |
| Schedule Optimization | RL learns optimal schedules: when to run/pause equipment, sequence of operations, batch sizing. |
| Multi-Objective Optimization | Agents balance competing objectives: energy vs comfort, throughput vs quality, cost vs speed. Configurable weights. |
| Reward Function Configuration | UI to define reward functions per domain. Examples: minimize kWh while maintaining comfort band; maximize parts/hour while keeping defects < 1%. |
| Safety Bounds & Constraints | Hard limits on RL actions (e.g., never set chiller below 5°C; never exceed pressure rating). RL stays within bounds. |
| Human-in-the-Loop Mode | For high-risk actions, RL recommends but human approves. Builds trust before full autonomy. |
| Shadow Mode Deployment | New RL agents run in shadow first (recommendations not applied). Compare agent vs current operation. Promote to production when proven. |
| A/B Testing Framework | Run RL agent vs baseline on subset of equipment. Statistical comparison of outcomes. |
| Reward Curves & Performance | Dashboard: reward over time, comparison to baseline, KPI improvement, action history. |
| Policy Visualization | See what RL agent is doing: current state, action chosen, why (top features). Explainability for operators. |
| Continuous Retraining | Agents periodically retrain on recent data. Detect concept drift. Rollback to prior version if performance degrades. |
| Twin-Based Training (Sim-to-Real) | New RL agents train on digital twins first (safe, fast), then deploy to real equipment with confidence. |
| Multi-Equipment Coordination | Plant-level RL coordinates multiple equipment for system optimization (e.g., chiller plant sequencing, line balancing). |

## Module 4: Agentic AI Framework (NEW)

CloudOps replaces single-shot LLM calls with a multi-agent system that autonomously plans, executes, and validates complex operational workflows.

### Multi-Agent Architecture

Three specialized agents collaborate on every significant task:

Planner Agent: Receives goal/alert/request. Decomposes into steps. Produces execution plan with checkpoints. Identifies required tools, data, approvals.

Executor Agent: Takes plan from Planner. Calls tools (database queries, API calls, control commands, notification sends). Handles errors and retries. Reports progress.

Validator Agent: Reviews Executor outputs. Verifies actions completed successfully. Cross-checks against expected outcomes. Flags discrepancies. Approves or requests rework.

| Feature | Description |
| --- | --- |
| Planner Agent | Decomposes high-level goals into actionable steps. Plans tool sequences. Identifies required approvals and risk thresholds. |
| Executor Agent | Executes plan steps via tool use (DB queries, API calls, commands). Handles errors with retries. Reports real-time progress. |
| Validator Agent | Verifies execution outcomes match plan expectations. Cross-checks data integrity. Approves or rejects completion. Triggers rework if needed. |
| Agent Orchestration Engine | Manages agent lifecycle: spawns agents, routes messages, handles handoffs, manages context window, persists state. |
| Tool Use Framework | Agents call backend tools: get_telemetry, query_alerts, create_work_order, send_notification, write_setpoint, generate_report, etc. Standardized tool schema. |
| Approval Gates | High-risk actions (write-back, large parameter changes, equipment shutdown) require human approval. Configurable thresholds. |
| Agent Activity Feed | Live UI feed: see agents thinking, decisions made, tools called, outcomes. Full transparency. |
| Workflow Templates | Pre-built agent workflows: "investigate alert", "generate weekly report", "diagnose recurring fault", "execute scheduled maintenance". |
| Custom Workflow Builder | Define new agent workflows with goal, expected tools, approval gates, success criteria. |
| Agent Memory & Context | Agents access historical interactions, learned patterns, equipment-specific knowledge. Persistent across sessions. |
| Multi-Step Reasoning | Agents handle complex tasks: "If chiller-1 alert is recurring, check twin diagnosis history; if bearing wear, create PM work order; if calibration, schedule sensor check; notify FM." |
| Error Handling & Recovery | Validator catches Executor errors. Triggers replan or escalation to human. Full audit trail. |
| Agent Performance Metrics | Track per agent: task success rate, avg completion time, escalation rate, human override rate. Improve over time. |
| Human Override & Takeover | Operator can pause agent, review state, modify plan, or take over execution. Agent learns from corrections. |
| Audit & Compliance Logs | Full record of agent decisions, tool calls, approvals, outcomes. Immutable. Compliance-ready. |

### Example Agent Workflows

Workflow 1 — "Investigate Alert" (autonomous):

Planner: Receive critical alert from twin FDD. Plan: (1) fetch equipment context, (2) review twin diagnosis, (3) check fault history, (4) determine action.

Executor: Calls get_equipment, get_twin_diagnosis, get_fault_history, get_recent_work_orders.

Validator: Confirms all data retrieved correctly. Synthesizes findings.

Planner (re-plans): Recommend creating work order, notify technician, suggest parts.

Executor: Calls create_work_order, send_notification, attach_parts_list.

Validator: Confirms work order created, technician notified. Marks workflow complete.

Workflow 2 — "Daily Operations Report" (scheduled):

Planner: Daily 6 AM trigger. Plan: aggregate yesterday data, identify highlights, generate report, distribute.

Executor: Queries telemetry, alerts, work orders, RL performance, twin diagnoses.

Validator: Cross-checks numbers vs DB. Flags any inconsistencies.

Executor: Generates report PDF, sends to stakeholders.

Validator: Confirms delivery. Logs completion.

Workflow 3 — "Optimization Recommendation" (proactive):

Planner: Weekly trigger. Plan: review RL agent performance, identify optimization opportunities, propose actions.

Executor: Queries RL reward curves, compares to baseline, identifies underperforming agents.

Validator: Verifies analysis. Checks proposals against safety bounds.

Executor: Creates recommendation report, requests approval for high-impact changes.

Validator: Routes to human approver. Logs outcome.

## Module 5: Operations Analytics & Reporting

| Feature | Description |
| --- | --- |
| Agent-Generated Reports | Agentic AI generates executive summaries, health reports, performance analytics. Validator ensures accuracy. |
| Twin Diagnostic Reports | Per-equipment twin analysis: health score, degradation trend, RUL estimate, recommended actions. |
| RL Performance Reports | Agent-by-agent: reward improvement, KPI gains, action distribution, learning curves. |
| Custom Reports & Export | User-selectable metrics, time range, format (PDF, CSV, HTML). Scheduled or on-demand via Agentic AI. |
| Comparative Analysis | Compare sites/devices/time periods. Twin and RL performance benchmarking. |
| Data Visualization | Line charts, bar charts, heatmaps, twin overlays, RL reward curves, agent activity feeds. |

## Module 6: Work Order & Task Management

| Feature | Description |
| --- | --- |
| Work Order Lifecycle | Create, assign, dispatch, execute, close. States: open → assigned → in_progress → resolved → closed. |
| Twin-Triggered Work Orders | Twin FDD diagnosis auto-creates work order with: fault type, root cause, RUL estimate, recommended parts, technician skill match. |
| Agent-Generated Work Orders | Agentic AI creates work orders during alert investigation workflows. Pre-populated with diagnosis and recommended actions. |
| Smart Technician Assignment | Agentic AI suggests best technician based on skills, current load, location, equipment familiarity. |
| Mobile Work Order UI | Tablet-optimized form. Technician sees twin diagnosis, recommended fix, parts list. Logs notes, photos, status. |
| Work Order Analytics | Completion time, SLA compliance, technician performance, repeat issues. Twin diagnosis accuracy tracking. |
| Task Scheduling | Preventive task scheduling. Auto-generate recurring work orders. Twin RUL estimates inform PM timing. |
| CMMS Integration | Bi-directional sync with Maximo, ServiceNow, UpKeep. Single source of truth. |

## Module 7: Portfolio & Multi-Site Management

| Feature | Description |
| --- | --- |
| Site Hierarchy | Portfolio → site → zone/area → device. Flexible grouping. Metadata per level. |
| User Management & RBAC | Roles: Admin, Manager, Operator, Technician, Analyst, AI Ops Specialist, Read-Only. Granular permissions. |
| Agent Authorization Model | Define what agents can do autonomously vs require approval. Per-role agent action permissions. |
| Multi-Tenancy | Complete data isolation per customer. One platform, many enterprises. |
| Configuration Templates | Reusable alert rules, schedules, twin models, RL agents, agent workflows. Apply to new sites. |
| Audit Logging | Immutable log of all user + agent actions. Twin diagnoses, RL decisions, agent workflows fully logged. |
| Data Governance | Retention policies, encryption at rest and in transit, RBAC at API layer. |

## Module 8: Integration & Extensions

| Feature | Description |
| --- | --- |
| Protocol Adapter Framework | Pluggable adapters for BACnet, Modbus, OPC-UA, MQTT, REST. Add new protocols easily. |
| Domain Extension Framework | HVAC Extension, Factory Extension, etc. Domain-specific features without core bloat. |
| Digital Twin Integration | Twin-broker service connects to existing customer twin modules. Standardized twin data schema. |
| RL Agent Integration | Agent-broker service hosts existing customer RL models. Standardized state/action/reward interface. |
| Agentic AI Tool Registry | Register new tools for agents to call. Schema-defined inputs/outputs. Versioned and authorized. |
| External System Integration | BMS bridge, MES connector, CMMS sync, ERP integration. Webhook + polling. |
| REST API & SDK | Full OpenAPI 3.0 spec. JavaScript SDK for custom integrations. |
| Data Export & BI | Export to Tableau, Power BI, data warehouse. CSV, JSON, Parquet formats. |
| Notification Gateway | Email, SMS, in-app, webhooks. Extensible to custom notification systems. |

# 08  Agentic AI Framework — Deep Dive

The Agentic AI framework is the orchestration layer for autonomous and semi-autonomous operations. It replaces single-shot LLM calls with a structured multi-agent system.

## Why Multi-Agent (Planner / Executor / Validator)?

Separation of concerns: planning, doing, checking are distinct cognitive tasks. Specialized agents perform each better than a single LLM.

Reliability: Validator catches Executor errors before they cause damage. Hallucination mitigation built into architecture.

Auditability: Each agent's reasoning is logged separately. Compliance and debugging are tractable.

Scalability: Agents can run in parallel for different tasks. Handoffs are explicit and traceable.

Safety: Validator gates high-risk actions. Human approval requested when uncertainty is high.

## Agent Responsibilities

### Planner Agent

Input: Goal, alert, user request, or scheduled trigger

Output: Structured plan with steps, required tools, expected outcomes, approval gates

Capabilities: Decomposition, dependency analysis, risk assessment, tool selection

LLM model: Claude Opus or Sonnet (heavy reasoning)

### Executor Agent

Input: Plan from Planner

Output: Tool call results, progress updates, completion report

Capabilities: Tool use (function calling), error handling, retries, progress tracking

LLM model: Claude Sonnet (fast, capable tool use)

### Validator Agent

Input: Executor results + original plan

Output: Validation verdict (success/partial/failed), discrepancy report, recommended next steps

Capabilities: Output verification, cross-checking, anomaly detection, quality assurance

LLM model: Claude Sonnet (independent perspective from Executor)

## Tool Library (initial set)

Data tools: get_telemetry, get_alerts, get_work_orders, get_equipment, get_twin_diagnosis, get_rl_performance

Control tools: write_setpoint, change_mode, start_equipment, stop_equipment (all with approval gates)

Communication tools: send_notification, send_email, create_work_order, assign_technician

Reporting tools: generate_report, export_data, create_dashboard_view

Analysis tools: query_historical_trends, compare_periods, simulate_on_twin, predict_with_rl

## Approval Tiers

| Tier | Action Type | Approval Required |
| --- | --- | --- |
| Tier 1 — Read | Data queries, report generation, notifications | None (autonomous) |
| Tier 2 — Low-Risk Write | Create work order, schedule task, log event | None (autonomous) |
| Tier 3 — Operational Write | Setpoint adjustment within bounds, schedule changes | Configurable: auto OR operator approval |
| Tier 4 — Significant Action | Equipment start/stop, large parameter change | Operator approval required |
| Tier 5 — Critical Action | Plant-level shutdown, safety overrides | Manager approval required, dual auth |

## Cost Model (Agentic AI)

Multi-agent operations use more tokens than single LLM calls but deliver fundamentally different value. Estimated cost per workflow:

Simple workflow (3-5 tool calls): ~$0.05–0.15

Complex workflow (10-20 tool calls): ~$0.20–0.50

Long-running workflow (50+ tool calls): ~$1.00–3.00

Monthly cost per customer (typical usage): $200–500 (vs $20–30 for basic LLM reports)

ROI: Agentic AI handles 60%+ of routine work autonomously. Saves 4–8 operator-hours per day per site.

# 09  Digital Twin FDD — Deep Dive

Digital Twin Fault Detection & Diagnostics (FDD) is the cornerstone of CloudOps predictive maintenance. Customer-built twin modules are integrated and orchestrated by CloudOps.

## How It Works

Real equipment streams telemetry to CloudOps in real time.

Digital twin (physics-based model) runs in parallel, predicting expected behavior given inputs.

FDD engine compares predicted vs actual continuously. Calculates deviation per parameter.

When deviation exceeds tolerance (configurable), FDD classifies the fault using twin's degradation models.

FDD outputs: fault type, affected component, severity, RUL estimate, recommended action.

Output flows to Alert Inbox + Agentic AI for autonomous investigation.

## Key Capabilities

Early Detection: Catches developing faults days/weeks before threshold-based alerts (which only fire at symptom stage).

Root Cause Analysis: Doesn't just flag "AHU faulted" — pinpoints "supply fan bearing showing 47% degradation".

RUL Estimation: Predicts how many days/weeks until equipment fails. Enables planned PM vs emergency repair.

Cascading Failure Detection: Correlates multiple deviations to distinguish single root cause from multiple independent issues.

Calibration Drift Detection: Identifies when sensors (not equipment) are the problem.

## Twin Model Lifecycle

Onboarding: New equipment → assign twin model → calibrate to actual equipment characteristics

Operation: Continuous twin sync with real telemetry. FDD runs continuously.

Health Monitoring: Track twin prediction accuracy. Alert if accuracy degrades (model drift).

Retraining: Periodic recalibration based on recent operation. Twin learns from new data.

Retirement: When equipment replaced/decommissioned, archive twin and history.

# 10  Phase Split: MVP vs v2 vs v3

| Category | MVP | v2 | v3 |
| --- | --- | --- | --- |
| Real-Time Monitoring | Portfolio + device dashboards, live telemetry, twin overlay | Device comparison, floor plan overlay | Custom dashboard builder |
| Alerting (Rule-Based) | Threshold + offline rules, inbox, ack | Escalation chains, advanced rules | Auto-tuning thresholds |
| Digital Twin FDD | Integration with existing twins, FDD engine, fault classification, RUL | Multi-equipment correlation, drift detection | Auto-calibration, federated twin learning |
| Reinforcement Learning | Integration with existing RL agents, reward dashboards, shadow mode | Multi-objective optimization, plant-level coordination | Sim-to-real continuous learning, federated RL |
| Agentic AI | Planner/Executor/Validator framework, basic workflows (alert investigation, reports) | Custom workflow builder, advanced approval logic, more tools | Autonomous mode, agent-to-agent collaboration, fine-tuned agents |
| Reporting | Agent-generated executive summary (scheduled) | Twin diagnostic reports, RL performance reports, custom workflows | Multi-language, advanced analytics |
| Work Orders | Twin-triggered + agent-generated, basic dispatch | Smart assignment via agents, CMMS sync | Predictive PM scheduling via twin RUL |
| Scheduling | Basic schedules, manual execution | Agent-driven scheduling, conflict resolution | RL-optimized schedules |
| Protocols | BACnet/IP, Modbus TCP | Add OPC-UA, MQTT | Custom protocol adapters |

# 11  Phased Roadmap (24 Months)

## Phase 0: Foundation (Month 1–2)

Dev env, infra setup, DB schema, auth, API scaffold, React skeleton, twin-broker service skeleton, agent orchestration skeleton. Target: stable foundation for core development.

## Phase 1: MVP Core (Month 3–6)

Real-time monitoring, telemetry pipeline, rule-based alerting, work order lifecycle, portfolio dashboard. Protocol adapters (BACnet, Modbus). Digital Twin FDD integration with existing customer twins. RL agent integration (shadow mode + production). Agentic AI framework with Planner/Executor/Validator and 5–8 core workflows. Tablet kiosk UI. Target: feature-complete MVP for beta customer.

## Phase 2: v2 Intelligence (Month 6–9)

Advanced alerting and escalation. Multi-equipment twin correlation. Plant-level RL coordination. Custom Agentic AI workflow builder. Expanded tool library. CMMS integration. Energy/performance analytics (domain-specific). Energy optimization (HVAC) / production analytics (factory). Multi-language reports.

## Phase 3: v3 Scale & Autonomy (Month 10–24)

Twin auto-calibration and drift detection. Sim-to-real continuous RL learning. Fully autonomous Agentic AI mode for low-risk operations. Agent-to-agent collaboration. Fine-tuned agent models. Federated learning across customer sites. On-prem LLM option. Advanced multi-site analytics. API gateway for 3rd-party integrations. Domain extensions fully mature (HVAC v3, Factory v3).

# 12  Deployment Model

CloudOps is deployed entirely on-premise or within customer's private cloud.

## Single-Server Deployment (Dev/Small Org)

Docker Compose. All services on one server (API, DB, Redis, adapters, twin-broker, agent-broker, frontend). Suitable for up to 50 sites.

## Kubernetes Deployment (Production/Large Org)

Multi-node Kubernetes cluster. Helm charts for easy deployment. Horizontal scaling for API, adapters, workers, twin services, agent runners. Database replication, failover. Suitable for 50–500 sites.

## GPU Considerations (NEW)

Digital twin physics simulation and RL inference may benefit from GPU. Twin-broker and RL-broker services support GPU passthrough. Recommended: 1 GPU per 50–100 sites for real-time twin simulation. Agentic AI uses LLM API (no local GPU needed unless on-prem LLM enabled in v3).

## Protocol Adapters (Flexible Placement)

Deploy per-site (local polling), per-subnet (shared across multiple sites), or centralized (all polling from HQ). Configurable per deployment.

# 13  Open Questions & Risks

## Open Questions

Which domain extensions to prioritize in v1? (HVAC first, or simultaneous with factory?)

Twin-broker integration: standardize on twin data schema or per-customer adapter?

RL agent versioning: how to handle agent updates without disrupting operations?

Agentic AI cost ceiling: monthly budget cap per customer to prevent runaway agent loops?

Approval workflow defaults: how aggressive should default autonomy be for new customers?

Compliance requirements? (GDPR, HIPAA, SOX, industry-specific)

On-prem LLM requirement from day 1, or acceptable in v3?

## Risks & Mitigations

Protocol Diversity: Each vendor implements protocols differently. Mitigation: configurable register maps, device profile library, early testing with customer equipment.

Twin Model Drift: Real equipment behavior changes over time, twin predictions become inaccurate. Mitigation: continuous accuracy monitoring, scheduled retraining, drift alerts.

RL Agent Misbehavior: Agent may learn suboptimal policy, oscillate, or violate safety bounds. Mitigation: hard safety constraints, shadow mode validation, A/B testing, rollback capability.

Agentic AI Hallucination: Agents may take incorrect actions based on flawed reasoning. Mitigation: Validator agent, approval gates for high-risk actions, full audit trail, human takeover.

Agentic AI Cost Runaway: Agents in loops or excessive tool use. Mitigation: per-workflow token budgets, monthly customer caps, anomaly detection on agent behavior.

Scope Creep: Multiple domains can balloon complexity. Mitigation: rigid MVP gate, clear phase splits, domain extension roadmap.

Customer Infra Variability: On-prem deployments face varying IT maturity. Mitigation: automated install scripts, detailed runbooks, support escalation.

Data Volume at Scale: 500 sites × 500 devices × 60 polls/hr = 18M data points/hr. Mitigation: TimescaleDB + compression, data retention policies.

## Success Metrics (MVP — Updated)

At least 95% data pipeline uptime per site

Dashboard load time under 2 seconds (500 sites)

Alert delivery under 30 seconds post-threshold

Real-time telemetry latency under 5 seconds

Digital Twin FDD: 80%+ of equipment faults detected at least 24 hours pre-failure

RL Optimization: 10%+ KPI improvement within 30 days of deployment

Agentic AI: 60%+ of routine workflows completed autonomously

Agentic AI: less than 5% incorrect actions (validator catches the rest)

Work order creation-to-dispatch under 10 minutes

Beta customer sign-off after UAT